## MaterialsList
This spreadsheet represents Division 27 sections, descriptions, part numbers, comments and Legrand new part numbers.
Materials List
Please Contact Pinellas County BTS for Up To Date Materials List Before Any Material Purchases
Material | Description | Part Number | Comments | Legrand New Part Number
Section 27 00 00 | COMMUNICATIONS
Section 27 05 26 | Grounding and Bonding for Communications Systems
| CPI Grounding Busbar | 13622-010 | 2" x 10" w/ stand-off kit & insulators
| CPI Grounding Busbar | 13622-012 | 2" x 12" w/ stand-off kit & insulators
| CPI Grounding Busbar | 40153-012 | 4" x 12" w/ stand-off kit & insulators
| CPI Grounding Busbar | 40153-020 | 4" x 20" w/ stand-off kit & insulators
| Erico Grounding Busbar | TGBA12L06PT | 2" x 12"
| Erico Grounding Busbar | TGBA16L08PT | 2" x 16"
| Erico Grounding Busbar | TGBA18L10PT | 2" x 18"
| Erico Grounding Busbar | TGBA20L12PT | 2" x 20"
| Erico Grounding Busbar | TGBA25L14PT | 2"x 24"
| Erico Grounding Busbar | TMGBA20L27PT | 4" x 20"
| Erico Grounding Busbar | TMGBA25L33PT | 4" x 24"
| Erico Grounding Busbar Mounting Kit | B548A41 | 2" bussbar width
| Erico Grounding Busbar Mounting Kit | B548A42 | 4" bussbar width
| CPI Compression Lug (2 hole) | 40162-xxx | x denotes cable sizes
| CPI Horizontal Rack Busbar Kit 19" | 10610-019
| CPI Vertical Rack Busbar Kit | 40172-001
| Erico Compression Lug (1 hole) | PKS00619 | #6 AWG
| Panduit Compression HTAP Connector | HTCT2-2-1 | #6 AWG
| CPI Pedestal Clamp w/ Ground Connector | 40169-xxx | x denotes pedestal style
Section 27 05 28 | Raceways for Technology
| Hilti Firestop Block (Removable) | CFS-BL | For wall penetrations
| Hilti Firestop 4" Plug (Removable) | CFS-PL 4" | 2-1/4" to 4" conduits
| Hilti Firestop 2" Plug (Removable) | CFS-PL 2" | 1/2" to 2" conduits
| EZ Path Fire Rated Pathway | EZD 22
| EZ Path Fire Rated Pathway | EZD 33
| EZ Path Fire Rated Pathway | EZD 44T
| Legrand Flame Stopper | FS2R | 2"
| Legrand Flame Stopper | FS4R | 4"
| Legrand Tele-Power Pole | 30TP
| Legrand Tele-Power Pole | 25DTP
| STI Fire Stop Sealant | SSS100
Hangers and Supports for Communications Systems
| Cooper Galvanized Cable Hooks (2" minimum) | BCH32 | Cat6A, with Quick Latch
| NVENT Caddy CAT HP J-Hooks | CATxxHP | x denotes sizes
Cable Tray for Communication Systems
| CPI Open Basket Galvanized wire mesh tray, 12" x 2" | 36811-612 | In ceiling Pathways
| Legrand Cablofil Prodcuts and Accessories |  | all products associated for install
| 4" waterfall - Panduit CWF 400 | CWF - 400 | Waterfall off a 4" conduit to ladder rack 8.15 - A / Page 38
Underground Ducts and Raceways for Comm Systems
| 1", 2", 4" PVC Schedule 40, w/12" bend radius |  | Underground conduits
| Quazite 24"x36"x24" PG Style Polymer Concrete Box | PG2436BA24 | Tier 22, Open Bottom
| Quazite 24"x36" PG Style Polymer Concrete Cover | PG2436HH00 | Tier 22 w/(2) Bolts
| Quazite 48"x48"x48" PG Style Polymer Concrete Box | PG4848BA48 | Tier 22, Open Bottom
| Quazite 48"x48" PG Style Polymer Concrete Cover | PG4848HH00 | Tier 22 w/(2) Bolts
| Armorcast 48"x48"x48" Vault w/Torsion Lift Cover | A600144TAP48MT | Tier15, Open Bottom
| MaxCell 3-Cell innerduct, 4" | MXC3456XX1000 | 1,000', w/pull string
| MaxCell 3-Cell innerduct, 2" | MXC2003XX1000 | 1,000', w/pull string
| Dura-line FuturePath 4-way | 4-way 27/20 | 4,000' minimum order
| Dura-line FuturePath 7-way | 7-way 27/20 | 4,000' minimum order
| Full Source Telcom Orange Plastic 3" Warning Tape | PRES-B3104O51 | 1,000 ft rolls, non-detectable
| Pro-Mark Orange Plastic Warning Marker Post | PM-303
| Carlon 1-1/4" innerduct | CG4X1C-xxx
Identification for Communications Systems
| Brady Engraved Plate | EPREP Series | Rack/Cabinet Identification
| Printable, Self-Laminating | DaTab Series | Cable Labels
| Printable Labels | IDXpert Series | Faceplates and Patch Panels
Section 27 10 00 | STRUCTURED CABLING
Commuication Equipment Room Fittings
| ReadySpec 3/4" painted Fire-rated plywood, 4'x4' | RB-A4848-PPW | White
Communications Entrance Protection
| Circa Primary Protection Unit, 100 Pair, 66 Block | 26100QC/QC | Wall Mounted
| Circa Surge Protection Module, Solid State, 5 Pin | 3BIS-300 | Self Healing, Black
Communications Cabinets, Racks, Frames and Enclosures
| 1U Ortronics Q-Series Standard Density Fiber Enclosure | EQ01U-CHC | 1U Fiber Enclousure
| 2U Ortronics Q-Series Standard Density Fiber Enclosure | EQ02U-CHC | 2U Fiber Enclousure
| 4U Ortronics Q-Series Standard Density Fiber Enclosure | EQ04U-CVC | 4U Fiber Enclosure
| 1U Infinium High Density Fiber Enclosure | INFC01U-M4-E | 1U Fiber Enclousure
| 2U Infinium High Density Fiber Enclosure | INFC02U-M4-E | 2U Fiber Enclousure
| 4U Infinium High Density Fiber Enclosure | INFC04U-M4-E | 4U Fiber Enclosure
| 1 Panel Q-Series Standard Density Wall Mount Fiber Enclosure | WQS-01P | 1 Panel Fiber Enclosure
| 2 Panel Q-Series Standard Density Wall Mount Fiber Enclosure | WQS-02P | 2 Panel Fiber Enclosure
| 4 Panel Q-Series Standard Density Wall Mount Fiber Enclosure | WQS-04P | 4 Panel Fiber Enclosure
| Wall Mount Swing-EZ Rack | 19-35-T18DB | 18" Deep
| Wall Mount Swing EZ Rack | 19-35-T25DB | 25" Deep
| Swing-Out Wall-Mount Cabinet - 12RU | SWM12RUPD-26-26 | Perforated Door
| Swing-Out Wall-Mount Cabinet - 18RU | SWM18RUPD-26-26 | Perforated Door
| Swing-Out Wall-Mount Cabinet - 26RU | SWM26RUPD-26-26 | Perforated Door
| Vertical Wall-Mount Cabinets | VWMSD-xRU-xx-B | x denotes RU size and height
| LX Series Server Cabinet (Data Center) |  | Confirm with Owner
| Nexpand Series Server Cabinet (MDF/IDF) |  | Confirm with Owner
| MM20 Cable Mgmt Rack - 6.5" Deep | OR-MM20706-B | Cannot be used with Cat 6A installations
| MM20 Cable Mgmt Rack - 10.5" Deep | OR-MM20710-B | Minimum depth for Cat 6A installations
| MM20 Cable Mgmt Rack - 16.25" Deep | OR-MM20716-B | Approved for all Cat 6A installations
| MM20 Cable Mgmt Rack - 24" Deep | OR-MM20724-B | Approved for all Cat 6A installations
Communications Termination Blocks and Patch Panels
| Cat6A Angled 24 Port PP | OR-PHA6AU24 | use with vertical wire managers, no horizontals needed
| Cat6A Flat 24 Port PP | OR-PHD6AU24 | use with horizontal wire managers
| Cat6A Angled 48 Port PP | OR-PHA6AU48 | use with vertical wire managers, no horizontals needed
| Cat6A Flat 48 Port PP | OR-PHD6AU48 | use with horizontal wire managers
| Cat6 Angled 24 Port PP | OR-PHA66U24 | use with vertical wire managers, no horizontals needed
| Cat6 Flat 24 Port PP | OR-PHD66U24 | use with horizontal wire managers
| Cat6 Angled 48 Port PP | OR-PHA66U48 | use with vertical wire managers, no horizontals needed
| Cat6 Flat 48 Port PP | OR-PHD66U48 | use with horizontal wire managers
| Cat6 Wall Mount 12 Port PP | OR-PMP612H
| Unloaded Shielded 48 Port PP | OR-PHDTKSU48
| Unloaded Shielded 24 Port PP | OR-PHDTKSU24
| Unloaded Angled Shielded 24 | OR-PHATKSU24
| Unloaded Angled Shielded 48 | OR-PHATKSU48
| Cat6A Shielded Keystone Jack | OR-KSFTP6A | w/unloaded Shielded PP
Communications Cable Mangement and Ladder Rack
| MM20 Vertical Mgr w/ Door | MM20VMD706-B | 6" wide - use at ends of rows
| MM20 Vertical Mgr w/ Door | OR-MM20VMD710-B | 10" wide - use between racks
| MM6 Horizontal 2U Cable Mgr | OR-MM6HMF2RU
| MM6 Horizontal 4U Cable Mgr | OR-MM6HMF4RU
| Horizontal 2U Cable Manager | OR-SHMC2RU
| Equip. Rack Isolation Pad Kit | OR-IPK
| Blank Filler Panels - Black | OR-BFPT-2RU-10
| Blank Filler Panels - White | OR-BFPT-2RU-10-W
| Grounding Straps | OR-GS-8
| Homaco Ladder 12" | OR-URT10-12B | 12" x 9' - black
| Homaco Ladder 18" | OR-URT10-18B | 18" x 9' - black
| Homaco 12" Wall Angle Assembly | OR-P128240HB
| Homaco 12" Shelf Bracket | OR-P139340HB
| Homaco 18" Wall Angle Assembly | OR-P128440HB
| Homaco 18" Shelf Bracket | OR-P139540HB
| Homaco Splice Clamp Kit | OR-P820127HB
| Horizontal Radius Runway 12" | OR-TRTHR-12B | 12"
| Horizontal Radius Runway 18" | OR-TRTHR-18B | 18"
| Homaco Transition Pan | OR-TRP17-CM | Pan" x 9' - black
| Homaco Runway Elevation Kit | OR-REK-4-6 | Kit" x 9' - black
| MM20 Cable Runway Mounting Bracket | OR-MM20CRB06-B | 6" channel
| MM20 Cable Runway Mounting Bracket | OR-MM20CRB10-B | 10" channel
| MM20 Cable Runway Mounting Bracket | OR-MM20CRB16-B | 16" channel
| MM20 Cable Runway Mounting Bracket | OR-MM20CRB24-B | 24" channel
| Cablofil 90 degree Horizontal Connector | 1320
Communications Rack Mounted Power Protection and Power Strips
| APC 120v 20amp Vertical Power Distribution Unit | AP7530 | (24) 5-20 Receptacles
| APC 120/240v 30amp Vertical Power Distribution Unit | AP7541 | (20) C13 (4) C19 Recept
| APC 208V Smart UPS Rack Mount w/Nic Card | SMX3000HVNC
| APC Rack PDU, Basic, Zero U, 15A, 100/120V | AP9567 | (14) 5-15 Use with basic IDF rack with APC 750-2200 UPS's
| APC Rack PDU 2G, Metered, ZeroU, 15A, 100-120V | AP8831 | (10) 5-15 - Use in cabinets and high density racks with APC 750-2200 UPS's
| APC Management card | AP9630
Communications Copper Backbone Cabling
| PE-89 Outside Plant Copper Cable | PE-89-24-XX | XX= Pair count
| Superior Essex 100 pr Cat 3 - Indoor Riser Rated | 18-789-33 | cut to length
| Superior Essex 100 pr Cat 3 - Indoor Plenum Rated | 18-799-36 | cut to length
| Superior Essex 300 pr Cat 3 - Indoor Riser Rated | 18-B99-33 | cut to length
| Superior Essex 300 pr Cat 3 - Indoor Plenum Rated | 18-B99-36 | cut to length
| Superior Essex 25 pr Cat 5E - Riser Rated | 51-478-x5 | 1,000 ft reel
| Superior Essex 25 pr Cat 5E - Plenum Rated | 51-478-48 | 1,000 ft reel
| Superior Essex 25 pr Cat 5E - Indoor / Outdoor | 51-499-EL | 1,000 ft reel
Communications Fiber Backbone Cabling
| Corning Altos MM Loose Tube OSP Cable, 24 Strands | 024KU4-T4130D20 | OM-1, 62.5um Retro/Exist
| Corning Altos MM Loose Tube OSP Cable, 24 Strands | 024TU4-T4190D20 | OM-4, 50um
| Corning Altos SM Loose Tube OSP Cable, 24 Strands | 024EU4-T4101D20 | OS-2
| Corning MIC MM Riser Cable, 24 Strands (Non-Plemum) | 024K81-33130-24 | OM-1, 62.5um Retro/Exist
| Corning MIC MM Riser Cable, 24 Strands (Non-Plemum) | 024T81-33190-24 | OM-4, 50um
| Corning MIC SM Riser Cable, 24 Strands (Non-Plemum) | 024E81-33131-24 | OS-2
| Corning Cable Fan-Out Kits | FAN-BT36-xx | For OSP Cable
| Superior Essex TeraFlex Amored SM 6 strand | L3006x401 | OSP - OS-1 / OS-2
| Superior Essex TeraFlex Amored SM 6 strand | L3006xW01 | Indoor / Outdoor Os-1 / OS-2
| Superior Essex TeraFlex Amored SM 12 strand | L3012x401 | OSP - OS-1 / OS-2
| Superior Essex TeraFlex Amored SM 12 strand | L3012xW01 | Indoor / Outdoor Os-1 / OS-2
| Superior Essex TeraFlex Amored SM 24 strand | L3024xK1Q | OSP - OS-1 / OS-2
| Superior Essex TeraFlex Amored SM 24 strand | L4024xK2Q | Indoor / Outdoor Os-1 / OS-2
| Superior Essex TeraFlex Amored SM 48 strand | L3048x401 | OSP - OS-1 / OS-2
| Superior Essex TeraFlex Amored SM 48 strand | L3048xW01 | Indoor / Outdoor Os-1 / OS-2
| Superior Essex TeraFlex Amored SM 96 strand | L3096x401 | OSP - OS-1 / OS-2
| Superior Essex TeraFlex Amored SM 96 strand | L3096xW01 | Indoor / Outdoor Os-1 / OS-2
| Superior Essex TeraFlex Amored SM 144 strand | L3144x401 | OSP - OS-1 / OS-2
| Superior Essex TeraFlex Amored SM 144 strand | L3144xW01 | Indoor / Outdoor Os-1 / OS-2
Communications Copper Horizontal Cabling
| Superior Essex 10Gain XP Cat 6A Riser | 6H-246-xA | X - Denotes Color
| Superior Essex 10Gain XP Cat 6A Plenum | 6H-246-xB | X - Denotes Color
| Superior Essex Shielded Cat 6A Riser | 6S-220-xA | X - Denotes Color
| Superior Essex Shielded Cat 6A Plenum | 6S-220-xB | X - Denotes Color
| Superior Essex Cat 6 Riser | 77-240-xA | X - Denotes Color
| Superior Essex Cat 6 Plenum | 77-240-xB | X - Denotes Color
| Superior Essex Cat 5E Riser | 51-240-x5 | X - Denotes Color - retrofits/existing
| Superior Essex Cat 5E Plenum | 51-241-x8 | X - Denotes Color - retrofits/existing
Communications Optical Fiber Horizontal Cabling and Accessories
| Legrand 6-ST MM adapter panel | OR-OFP-STS06NB | OM-1 / OM-2 | USE ONLY OR-EC SERIES
| Legrand 6-ST SM adapter panel | OR-OFP-STS06NC | OS-1 / OS-2 | USE ONLY OR-EC SERIES
| Legrand 6-LC SM adapter panel | OR-OFP-LCD12AC | OS-1 / OS-2 (12 fiber) | USE ONLY OR-EC SERIES
| Legrand 6-LC MM adapter panel | OR-OFP-LCD12LC | OM-3 / OM-4 (12 fiber) | USE ONLY OR-EC SERIES
| Legrand 6-LC MM adapter panel - | OR-OFP-LCD12MB | OM-1 / OM-2 (12 fiber) | USE ONLY OR-EC SERIES
| Legrand 6-LC MM HDFP adapter panel - HIGH DENSITY | OR-HDFP-LCD12LC | OM-3 / OM-4 (12 fiber) | USE W/INFINIUM SERIES Fiber BOX
| Legrand 6-LC SM HDFP adapter panel - HIGH DENSITY | OR-HDFP-LCD12AC | OS-1 / OS-2 | USE W/INFINIUM SERIES Fiber BOX
| Legrand SM Splice-on LC Connector, 900um | 205KNF9SA-09 | OS-2
| Legrand SM Splice-on ST Connector, 900um | 205KNF9QA-09 | OS-2
| Legrand MM Splice-on LC Connector | 205KNF9GA-50T | OM-3
| Legrand MM Splice-on ST Connector | 205KNF9EA-50T | OM-3
| Legrand MM Splice-on LC Connector | 205KNF3GA-62 | OM-1, 62.5um Retro/Exist
| Legrand MM Splice-on ST Connector | 205KNF3EA-62 | OM-1, 62.5um Retro/Exist
| Legrand SM APC Splice-on Connector | 205KNF9MA-09 | OS-2 APC, used for video applications
| 12 Fiber Riser Single-Mode | 43012R101 | Includes Corning Fiber
| 24 Fiber Riser Single-Mode | 43024RK01 | Includes Corning Fiber
| 48 Fiber Riser Single-Mode | 43048R101 | Includes Corning Fiber
| 12 Fiber Plenum Single-Mode | 44012R101 | Includes Corning Fiber
| 24 Fiber Plenum Single-Mode | 44024RK01 | Includes Corning Fiber
| 48 Fiber Plenum Single-Mode | 44048R101 | Includes Corning Fiber
| 12 Fiber Riser Interlocking Armor Single-Mode | L3012R401 | Includes Corning Fiber
| 24 Fiber Riser Interlocking Armor Single-Mode | L3024RK1Q | Includes Corning Fiber
| 48 Fiber Riser Interlocking Armor Single-Mode | L3048R401 | Includes Corning Fiber
| 12 Fiber Plenum Interlocking Armor Single-Mode | L4012R401 | Includes Corning Fiber
| 24 Fiber Plenum Interlocking Armor Single-Mode | L4024RK1Q | Includes Corning Fiber
| 48 Fiber Plenum Interlocking Armor Single-Mode | L4048R401 | Includes Corning Fiber
| 12 Fiber Loose Tube OSP Single-Mode | 11012RT01 | Includes Corning Fiber
| 24 Fiber Loose Tube OSP Single-Mode | 11024RT01 | Includes Corning Fiber
| 48 Fiber Loose Tube OSP Single-Mode | 11048R101 | Includes Corning Fiber
| 12 Fiber Riser Loose Tube OSP Single-Mode | 13012RT01 | Includes Corning Fiber
| 24 Fiber Riser Loose Tube OSP Single-Mode | 13024RT01 | Includes Corning Fiber
| 48 Fiber Riser Loose Tube OSP Single-Mode | 13048R101 | Includes Corning Fiber
| 12 Fiber Riser Multimode OM4 | 43012WG01 | Includes Corning Fiber
| 24 Fiber Riser Multimode OM4 | 43024WK01 | Includes Corning Fiber
| 48 Fiber Riser Multimode OM4 | 43048WG01 | Includes Corning Fiber
| 12 Fiber Plenum Multimode OM4 | 44012W101 | Includes Corning Fiber
| 24 Fiber Plenum Multimode OM4 | 44024WK01 | Includes Corning Fiber
| 48 Fiber Plenum multimode OM4 | 44024WG01 | Includes Corning Fiber
| 12 Fiber Riser Interlocking Armor Multimode OM4 | L3012W401 | Includes Corning Fiber
| 24 Fiber Riser Interlocking Armor Multimode OM4 | L3024WK1Q | Includes Corning Fiber
| 48 Fiber Riser Interlocking Armor Multimode OM4 | L3048W01 | Includes Corning Fiber
| 12 Fiber Plenum Interlocking Armor Multimode OM4 | L4012W401 | Includes Corning Fiber
| 24 Fiber Plenum Interlocking Armor Multimode OM4 | L4024WK1Q | Includes Corning Fiber
| 48 Fiber Plenum Interlocking Armor Multimode OM4 | L4048W401 | Includes Corning Fiber
| 12 Fiber Loose Tube OSP Multimode OM4 | 11012WT01 | Includes Corning Fiber
| 24 Fiber Loose Tube OSP Multimode OM4 | 11024WT01 | Includes Corning Fiber
| 48 Fiber Loose Tube OSP Multimode OM4 | 11048W101 | Includes Corning Fiber
| 12 Fiber Riser Loose Tube OSP Multimode OM4 | 13012WT01 | Includes Corning Fiber
| 24 Fiber Riser Loose Tube OSP Multimode OM4 | 13024WT01 | Includes Corning Fiber
| 48 Fiber Riser Loose Tube OSP Multimode OM4 | 13048W101 | Includes Corning Fiber
Communications Faceplates, Connectors, and Accessories
| Legrand Cat 6A TracJack | OR-TJ6A
| LegrandCat 6a Shielded TracJack | OR-TJS6A
| Legrand Cat 6 TracJack | OR-TJ600 | Retrofit/Existing
| Legrand TracJack 4 Port Faceplate | OR-40300546
| Legrand TracJack 3 Port Faceplate | OR-40300547
| Legrand TracJack 2 Port Faceplate | OR-40300548
| Legrand TracJack 1 Port Faceplate | OR-40300549
| Legrand TracJack Blank Inserts | OR-42100002
| Legrand TracJack 2 Port Surface Mount box | OR-404TJ2
| Legrand Series II Single Cat 6 Jack | OR-S21600 | Retrofit/Existing
| Legrand Series II Dual Cat 6 Jack | OR-S22600 | Retrofit/Existing
| Legrand Series II Single Cat 5E Jack | OR-S215E00 | Retrofit/Existing
| Legrand Series II Dual Cat 5E Jack | OR-S225E00 | Retrofit/Existing
| Legrand Series II Single Gang Faceplate | OR-40300011 | Retrofit/Existing
| Legrand Series II Double Gang Faceplate | OR-40300159 | Retrofit/Existing
| Legrand Series II Blank Inserts | OR-40300164 | Retrofit/Existing
| Legrand Series II Single Surface Mount Box | OR-404S21U | Retrofit/Existing
| Legrand Series II Dual Surface Mount Box | OR-404S22U | Retrofit/Existing
| Legrand Series II F Connector Insert | OR-60900017 | co-ax
| Legrand Stainless Steel Wall mount Phone Plate | OR-403STJ1WP
| Furniture Bezels | OR-40700073-00 | to be used with Cat 6A (TracJack) installations
| Trac Jack adaptor plates | OR-42100009-00 | to be used with Cat 6A (TracJack) installations
| Furniture Bezels - Series II | OR-40300167 | to be used with Cat 6 (Series II) installations
Communications Patch Cords, Stations Cords, and Cross Connect Wire
| Cat 6A 28awg Patch Cords | OR-RDC Series
| Cat 6A 3-Foot Patch Cord | OR-MC6A03-XX | XX-Denotes Color
| Cat 6A 5-Foot Patch Cord* | OR-MC6A05-XX | XX-Denotes Color
| Cat 6A 7-Foot Patch Cord* | OR-MC6A07-XX | XX-Denotes Color
| Cat 6A 9-Foot Patch Cord* | OR-MC6A09-XX | XX-Denotes Color
| Cat 6A 15-Foot Patch Cord* | OR-MC6A15-XX | XX-Denotes Color
| Cat 6A - 6 Foot Network Patch Cable | OR-576-A15-006 | QUIKTRON (LEGRAND)
| Cat 6A - 7 Foot Network Patch Cable | OR-576-A15-007 | QUIKTRON (LEGRAND)
| Cat 6A - 10 Foot Network Patch Cable | OR-576-A15-010 | QUIKTRON (LEGRAND)
| Cat 6A - 15 Foot Network Patch Cable | OR-576-A15-015 | QUIKTRON (LEGRAND)
| Cat 6 3-Foot Patch Cord | OR-MC603-XX | Retrofit/Existing
| Cat 6 5-Foot Patch Cord | OR-MC605-XX | Retrofit/Existing
| Cat 6 7-Foot Patch Cord | OR-MC607-XX | Retrofit/Existing
| Cat 6 9-Foot Patch Cord | OR-MC609-XX | Retrofit/Existing
| Cat 6 15-Foot Patch Cord | OR-MC615-XX | Retrofit/Existing
| Cat 6A Shielded 3-Foot Patch Cord | OR-MCS6A03-XX | XX-Denotes Color
| Cat 6A Shielded 5-Foot Patch Cord | OR-MCS6A05-XX | XX-Denotes Color
| Cat 6A Shielded 7-Foot Patch Cord | OR-MCS6A07-XX | XX-Denotes Color
| Cat 6A Shielded 9-Foot Patch Cord | OR-MCS6A09-XX | XX-Denotes Color
| Cat 6A Shielded 15-Foot Patch Cord | OR-MCS6A15-XX | XX-Denotes Color
| 1-Meter LC-LC Duplex Fiber Cord 50 Micron | OR-L1-0101B2DA2001M |  | NEW FIBER CORD Part Numbers
| 2-Mater LC-LC Duplex Fiber Cord 50 Micron | OR-L1-0101B2DA2002M | OM4 Aqua | NEW FIBER CORD Part Numbers
| 3-Meter LC-LC Duplex Fiber Cord 50 Micron | OR-L1-0101B2DA2003M |  | NEW FIBER CORD Part Numbers
| 4-Meter LC-LC Duplex Fiber Cord 50 Micron | OR-L1-0101B2DA2004M |  | NEW FIBER CORD Part Numbers
| 5-Meter LC-LC Duplex Fiber Cord 50 Micron | OR-L1-0101B2DA2005M |  | NEW FIBER CORD Part Numbers
| 1-Meter LC-LC Duplex Fiber Cord Single-Mode | OR-L1-0101B2JY2001M |  | NEW FIBER CORD Part Numbers
| 2-Mater LC-LC Duplex Fiber Cord Single-Mode | OR-L1-0101B2JY2002M |  | NEW FIBER CORD Part Numbers
| 3-Meter LC-LC Duplex Fiber Cord Single-Mode | OR-L1-0101B2JY2003M |  | NEW FIBER CORD Part Numbers
| 4-Meter LC-LC Duplex Fiber Cord Single-Mode | OR-L1-0101B2JY2004M |  | NEW FIBER CORD Part Numbers
| 5-Meter LC-LC Duplex Fiber Cord Single-Mode | OR-L1-0101B2JY2005M |  | NEW FIBER CORD Part Numbers
| 1-Meter SC-SC Duplex Fiber Cord 50 Micron | OR-L1-0202B3EA20001M |  | NEW FIBER CORD Part Numbers
| 2-Mater SC-SC Duplex Fiber Cord 50 Micron | OR-L1-0202B3EA20002M |  | NEW FIBER CORD Part Numbers
| 3-Meter SC-SC Duplex Fiber Cord 50 Micron | OR-L1-0202B3EA20003M |  | NEW FIBER CORD Part Numbers
| 4-Meter SC_SC Duplex Fiber Cord 50 Micron | OR-L1-0202B3EA20004M |  | NEW FIBER CORD Part Numbers
| 5-Meter SC-SC Duplex Fiber Cord 50 Micron | OR-L1-0202B3EA20005M |  | NEW FIBER CORD Part Numbers
| 1-Meter SC-SC Duplex Fiber Cord Single-Mode | OR-L1-0202B3JY20001M |  | NEW FIBER CORD Part Numbers
| 2-Mater SC-SC Duplex Fiber Cord Single-Mode | OR-L1-0202B3JY20002M |  | NEW FIBER CORD Part Numbers
| 3-Meter SC-SC Duplex Fiber Cord Single-Mode | OR-L1-0202B3JY20003M |  | NEW FIBER CORD Part Numbers
| 4-Meter SC-SC Duplex Fiber Cord Single-Mode | OR-L1-0202B3JY20004M |  | NEW FIBER CORD Part Numbers
| 5-Meter SC-SC Duplex Fiber Cord Single-Mode | OR-L1-0202B3JY20005M |  | NEW FIBER CORD Part Numbers
| LC Pre-Polished Fiber Connectors 50 Micron | OR-205KNT9GA-50T
| LC Pre-Polished Fiber Connectors Single-Mode | OR-205KNT9SA-09
| 6 Fiber Break Out Kit | OR-61500858
| 12 Fiber Break Out Kit | OR-61500868
Section 27 20 00 | DATA COMMUNICATIONS
Data Communications Network Equipment
| CPI LCD KVM 19" Rack Mounted Drawer, 1RU | 37201-111 | Dual Rail
| CPI KVM IP Switch w/DB15 Ports, Rack Mount, 1RU | 37212-260 | Connects 16 up to computers
| Oberon Wifi Access Point ceiling mount | 1047-CCOAP3800 | ceiling tile mount
| Oberon Wifi Access Point ceiling mount | 1042-CCOAP3800 | hard ceiling mount
| Oberon Wifi Access Point wall mount | 1011-00WH | wall mount
| Oberon Wifi Access Point Outdoor wall mount | 1021-00-PMB | outdoor mount
| Oberon Wifi Access Point Enclosure with Hinged Door | 1024-C | Low Profile 15.7 in. NEMA-4 Plastic Wi-Fi Access Point Enclosure with Hinged Clear Door
Pinellas County is a Cisco solution client, contact BTS for a project specific solution
VOICE COMMUNICATIONS
Voice Communications Equipment
Pinellas County is a Cisco VoIP solution client, contact BTS for a project specific solution
AUDIO-VIDEO COMMUNICATIONS
Section 27 41 00 | Audio-Video Systems
| Legrand Evolution Series wall box | EFSB2 | 2-gang wall box
| Legrand Evolution Series wall box | EFSB4 | 4-gang wall box
Pinellas County currently does not specify a AV Manufacturer, contact BTS for a project specific solution
Master Antenna Television Systems, MATV, CATV
| FoxCom Rack Mount Chassis 3RU (8) TX Slots | AL500 | PC Jail
| FoxComm RF L-Band Transmitters | AL5T-2-1310-1 | PC Jail, 1310nm+4dbm
| FoxComm RF CATV/SMATV Transmitters | AL5T2--1-1310-2 | PC Jail, 1310nm+11dbm
| FoxComm RF L-Band Recievers | AL322-01-SC-01SS-01 | PC Jail
| FoxComm RF CATV/SMATV Recievers | AL312-01-SC-01-SS-01 | PC Jail
| LynxBroadband UTPTV 8 Port Distrbutation Hub | 040-0101 | Rack mount
| LynxBoradband Wall Plate w/F-conn and RJ-45 | 040-0237 | White
| LynxBoradband UTPTV RF Amplifier | 180-0489